## (예시용)
`22년 희소·긴급도입 필요 의료기기 현재 재고량 및 연간 필요수량 조사(작성방법_예시용)
|  |  |  | *의료기관명 : | 한국병원 |  | *기준일 : | 00월 00일
|  |  |  | 진료과 : | 흉부외과
< 작성 방법 안내 >
1. 각 기관에서 하단에 있는 시트별 (Gore, Andramed 등) 사용하고 있는 제품 및 제조사 확인
2. 우측 상단에 해당 의료기관 명/진료과/기준일 작성
※ '진료과' 는 병원 내에서 총괄로 취합하는 경우, '병원명(의료기관명)'으로 단독 기재 가능
3. 제품명, 모델명 확인하여 사용하고 있는 제품에 한하여 현재 '재고량' 및 '필요수량'에 대해 올해(`22년도)에 한하여 예상 수량 작성
※ 각 제조사 시트 별로 사용하고 있는 모든 제품에 한하여 현재 재고량 , 필요수량(예상)작성 필요
※ ※ * 표시가 되어 있는 부분 필수 작성
★(예시용)★
연번 | 제조사(원) | 품목명 | 제품명 | 모델명 | 사양 | 치료재료 코드 | *재고량 | *연간 필요수량(예상)
12 | Jotec | 혈관용스텐트 [4] | E-Vita Open Plus | 71AC2020S13-PL-CO | Stent Graft Length 130mm, Graft Length 50mm, Graft Diameter 20mm | G0450010 | 2 | 20
|  |  |  | 71AC2222S13-PL-CO | Stent Graft Length 130mm, Graft Length 50mm, Graft Diameter 22mm | G0450010
|  |  |  | 71AC2424S13-PL-CO | Stent Graft Length 130mm, Graft Length 50mm, Graft Diameter 24mm | G0450010
|  |  |  | 71AC2626S13-PL-CO | Stent Graft Length 130mm, Graft Length 50mm, Graft Diameter 26mm | G0450010
|  |  |  | 71AC2828S13-PL-CO | Stent Graft Length 130mm, Graft Length 50mm, Graft Diameter 28mm | G0450010
|  |  |  | 71AC3030S13-PL-CO | Stent Graft Length 130mm, Graft Length 50mm, Graft Diameter 30mm | G0450010
|  |  |  | 71AC3333S13-PL-CO | Stent Graft Length 130mm, Graft Length 50mm, Graft Diameter 33mm | G0450010
|  |  |  | 71AC3636S13-PL-CO | Stent Graft Length 130mm, Graft Length 50mm, Graft Diameter 36mm | G0450010
|  |  |  | 71AC4040S13-PL-CO | Stent Graft Length 130mm, Graft Length 50mm, Graft Diameter 40mm | G0450010
|  |  |  | 71AC2020S15-PL-CO | Stent Graft Length 150mm, Graft Length 70mm, Graft Diameter 20mm | G0450010
|  |  |  | 71AC2222S15-PL-CO | Stent Graft Length 150mm, Graft Length 70mm, Graft Diameter 22mm | G0450010
|  |  |  | 71AC2424S15-PL-CO | Stent Graft Length 150mm, Graft Length 70mm, Graft Diameter 24mm | G0450010
|  |  |  | 71AC2626S15-PL-CO | Stent Graft Length 150mm, Graft Length 70mm, Graft Diameter 26mm | G0450010
|  |  |  | 71AC2828S15-PL-CO | Stent Graft Length 150mm, Graft Length 70mm, Graft Diameter 28mm | G0450010
|  |  |  | 71AC3030S15-PL-CO | Stent Graft Length 150mm, Graft Length 70mm, Graft Diameter 30mm | G0450010
|  |  |  | 71AC3333S16-PL-CO | Stent Graft Length 160 mm, Graft Length 70mm, Graft Diameter 33mm | G0450010
|  |  |  | 71AC3636S16-PL-CO | Stent Graft Length 160mm, Graft Length 70mm, Graft Diameter 36mm | G0450010
|  |  |  | 71AC4040S16-PL-CO | Stent Graft Length 160mm, Graft Length 70mm, Graft Diameter 40mm | G0450010
|  |  |  | 71AC2424S13-PL-CO-02 | Stent Graft Length 130mm, Graft Length 20mm, Graft Diameter 24mm | G0450010
|  |  |  | 71AC2828S13-PL-CO-02 | Stent Graft Length 130mm, Graft Length 20mm, Graft Diameter 28mm | G0450010
|  |  |  | 71AC3030S13-PL-CO-02 | Stent Graft Length 130mm, Graft Length 20mm, Graft Diameter 30mm | G0450010
|  |  |  | 71AC3333S13-PL-CO-02 | Stent Graft Length 130mm, Graft Length 20mm, Graft Diameter 33mm | G0450010
|  |  |  | 71AC3636S13-PL-CO-02 | Stent Graft Length 130mm, Graft Length 20mm, Graft Diameter 36mm | G0450010

## Gore
`22년 희소·긴급도입 필요 의료기기 현재 재고량 및 연간 필요수량 조사
|  |  |  | *의료기관명 : | 한국병원 |  | *기준일 : | 00월 00일
|  |  |  | 진료과 : | 흉부외과
연번 | 제조사(원) | 품목명 | 제품명 | 모델명 | 사양 | 치료재료 코드 | *재고량 | *연간 필요수량(예상)
1 | Gore | 중심순환계 인공혈관[4] | GORE-TEX® STRETCH VASCULAR GRAFT | ST04010A | STRETCHTYPE (10cm-20cm/PTFE재질) | G0431010
|  |  |  | ST05010A | STRETCHTYPE (10cm-20cm/PTFE재질) | G0431020
|  |  |  | ST35010A | STRETCHTYPE (10cm-20cm/PTFE재질) | G0431010
|  |  |  | ST35015A | STRETCHTYPE (10cm-20cm/PTFE재질) | G0431030
2 | Gore | 중심순환계 인공혈관[4] | PROPATEN® Vascular Graft configured for Pediatric Shunt | HPT040010A | Diameter 4mm, Length 10cm | G0441010
|  |  |  | HPT050010A | Diameter 5mm, Length 10cm | G0441010
|  |  |  | HPT350010A | Diameter 3.5mm, Length 10cm | G0441010
|  |  |  | HPT350015A | Diameter 3.5mm, Length 15cm | G0441030
3 | Gore | 중심순환계 인공혈관[4] | GORE-TEX® STRETCH VASCULAR GRAFT - Large Diameter | S1202 | STRETCH 12mm x 20cm | G0432010
|  |  |  | SA1402 | STRETCH 14mm x 20cm | G0432010
|  |  |  | SA1602 | STRETCH 16mm x 20cm | G0432010
|  |  |  | SA1802 | STRETCH 18mm x 20cm | G0432010
|  |  |  | SA2002 | STRETCH 20mm x 20cm | G0432010
|  |  |  | SA2202 | STRETCH 22mm x 20cm | G0432010
|  |  |  | SA2402 | STRETCH 24mm x 20cm | G0432010
4 | Gore | 폴리테트라 풀오로에틸렌봉합사[3] | GORE-TEX® SUTURE | 3N08A | NEEDLE 3/0 | B0089210
|  |  |  | 4N02A | NEEDLE 4/0 | B0089310
|  |  |  | 5N02A | NEEDLE 5/0 | B0089410
|  |  |  | 6K02A | NEEDLE 6/0 | B0089510
|  |  |  | 6M02A | NEEDLE 6/0 | B0089511
|  |  |  | 7K02A | NEEDLE 7/0 | B0089610
|  |  |  | 7K04A | NEEDLE 7/0 | B0089611
|  |  |  | 7M02A | NEEDLE 7/0 | B0089612
5 | Gore | 심혈관용 인조포[4] | GORE-TEX® Soft Tissue Patch | 1310015020 | CS용 PATCH (10cm×15cm×2mm) | G1420010
6 | Gore | 심혈관용 인조포[4] | ACUSEAL Cardiovascular Patch | 1CVX002 | CS용 PATCH (1×9cm, 0.5mm) | G1422010
|  |  |  | 1CVX102 | CS용 PATCH (5×7.5cm, 0.5mm) | G1421010
7 | Gore | 심혈관용 인조포[4] | PRECLUDE® Pericardial Membrane | 1PCM102 | PERICARDIUM PATCH | G1401010
Note on F4: NIDS: 필수 기재 요망.
Note on I4: NIDS: 필수 기재 요망.

## Andramed
`22년 희소·긴급도입 필요 의료기기 현재 재고량 및 연간 필요수량 조사
|  |  |  | *의료기관명 : | 한국병원 |  | *기준일 : | 00월 00일
|  |  |  | 진료과 : | 흉부외과
연번 | 제조사(원) | 품목명 | 제품명 | 모델명 | 사양 | 치료재료 코드 | *재고량 | *연간 필요수량(예상)
8 | Andramed | 혈관용스텐트 [4] | Andra Stent | AS13L | AndraStent L 13mm ∼ 8mm, Expansion diameter 6mm ∼ 18mm | J8511010
|  |  |  | AS17L | AndraStent L 17mm ∼ 11mm, Expansion diameter 6mm ∼ 18mm | J8511010
|  |  |  | AS21L | AndraStent L 21mm ∼ 15mm, Expansion diameter 6mm ∼ 18mm | J8511010
|  |  |  | AS17XL | AndraStent XL 17mm ∼ 11mm, Expansion diameter 8mm ∼ 25mm | J8511110
|  |  |  | AS21XL | AndraStent XL 21mm ∼ 14mm, Expansion diameter 8mm ∼ 25mm | J8511110
|  |  |  | AS30XXL | AndraStent XXL 30mm ∼ 18mm, Expansion diameter 12mm ∼ 32mm | J8511210
|  |  |  | AS26L | AndraStent L 26mm ∼ 17mm, Expansion diameter 6mm ∼ 18mm | J8511010
|  |  |  | AS13XL | AndraStent XL 13mm ∼ 8mm, Expansion diameter 8mm ∼ 25mm | J8511110
|  |  |  | AS26XL | AndraStent XL 26mm ∼ 17mm, Expansion diameter 8mm ∼ 25mm | J8511110
|  |  |  | AS30XL | AndraStent XL 30mm ∼ 21mm, Expansion diameter 8mm ∼ 25mm | J8511110
|  |  |  | AS35XL | AndraStent XL 35mm ∼ 24mm, Expansion diameter 8mm ∼ 25mm | J8511110
|  |  |  | AS39XL | AndraStent XL 39mm ∼ 27mm, Expansion diameter 8mm ∼ 25mm | J8511110
|  |  |  | AS43XL | AndraStent XL 43mm ∼ 29mm, Expansion diameter 8mm ∼ 25mm | J8511110
|  |  |  | AS48XL | AndraStent XL 48mm ∼ 33mm, Expansion diameter 8mm ∼ 25mm | J8511110
|  |  |  | AS57XL | AndraStent XL 56mm ∼ 40mm, Expansion diameter 8mm ∼ 25mm | J8511110
|  |  |  | AS17XXL | AndraStent XXL 17mm ∼ 10mm, Expansion diameter 12mm ∼ 32mm | J8511210
|  |  |  | AS21XXL | AndraStent XXL 21mm ∼ 13mm, Expansion diameter 12mm ∼ 32mm | J8511210
|  |  |  | AS26XXL | AndraStent XXL 26mm ∼ 10mm, Expansion diameter 12mm ∼ 32mm | J8511210
|  |  |  | AS35XXL | AndraStent XXL 35mm ∼ 21mm, Expansion diameter 12mm ∼ 32mm | J8511210
|  |  |  | AS39XXL | AndraStent XXL 38mm ∼ 25mm, Expansion diameter 12mm ∼ 32mm | J8511210
|  |  |  | AS43XXL | AndraStent XXL 41mm ∼ 28mm, Expansion diameter 12mm ∼ 32mm | J8511210
|  |  |  | AS48XXL | AndraStent XXL 46mm ∼ 32mm, Expansion diameter 12mm ∼ 32mm | J8511210
|  |  |  | AS57XXL | AndraStent XXL 55mm ∼ 37mm, Expansion diameter 12mm ∼ 32mm | J8511210
Note on F4: NIDS: 필수 기재 요망.
Note on I4: NIDS: 필수 기재 요망.

## Numed
`22년 희소·긴급도입 필요 의료기기 현재 재고량 및 연간 필요수량 조사
|  |  |  | *의료기관명 : | 한국병원 |  | *기준일 : | 00월 00일
|  |  |  | 진료과 : | 흉부외과
연번 | 제조사(원) | 품목명 | 제품명 | 모델명 | 사양 | 치료재료 코드 | *재고량 | *연간 필요수량(예상)
9 | Numed | 혈관용스텐트 [4] | Covered mounted CP stent | CMCP001 | Outer Balloon Diameter 12mm×Length 2.5cm, Stent Length 1.6cm | J8510010
|  |  |  | CMCP004 | Outer Balloon Diameter 12mm×Length 2.5cm, Stent Length 2.2cm | J8510010
|  |  |  | CMCP038 | Outer Balloon Diameter 12mm×Length 3cm, Stent Length 2.8cm | J8510010
|  |  |  | CMCP035 | Outer Balloon Diameter 12mm×Length 3.5cm, Stent Length 3.4cm | J8510010
|  |  |  | CMCP036 | Outer Balloon Diameter 12mm×Length 4cm, Stent Length 3.9cm | J8510110
|  |  |  | CMCP037 | Outer Balloon Diameter 12mm×Length 5cm, Stent Length 4.5cm | J8510110
|  |  |  | CMCP002 | Outer Balloon Diameter 14mm×Length 2.5cm, Stent Length 1.6cm | J8510010
|  |  |  | CMCP005 | Outer Balloon Diameter 14mm×Length 2.5cm, Stent Length 2.2cm | J8510010
|  |  |  | CMCP008 | Outer Balloon Diameter 14mm×Length 3cm, Stent Length 2.8cm | J8510010
|  |  |  | CMCP012 | Outer Balloon Diameter 14mm×Length 3.5cm, Stent Length 3.4cm | J8510010
|  |  |  | CMCP017 | Outer Balloon Diameter 14mm×Length 4cm, Stent Length 3.9cm | J8510110
|  |  |  | CMCP023 | Outer Balloon Diameter 14mm×Length 4.5cm, Stent Length 4.5cm | J8510110
|  |  |  | CMCP029 | Outer Balloon Diameter 14mm×Length 5cm, Stent Length 4.5cm | J8510110
|  |  |  | CMCP003 | Outer Balloon Diameter 16mm×Length 2.5cm, Stent Length 1.6cm | J8510010
|  |  |  | CMCP006 | Outer Balloon Diameter 16mm×Length 2.5cm, Stent Length 2.2cm | J8510010
|  |  |  | CMCP009 | Outer Balloon Diameter 16mm×Length 3cm, Stent Length 2.8cm | J8510010
|  |  |  | CMCP013 | Outer Balloon Diameter 16mm×Length 3.5cm, Stent Length 3.4cm | J8510010
|  |  |  | CMCP018 | Outer Balloon Diameter 16mm×Length 4cm, Stent Length 3.9cm | J8510110
|  |  |  | CMCP024 | Outer Balloon Diameter 16mm×Length 4.5cm, Stent Length 4.5cm | J8510110
|  |  |  | CMCP030 | Outer Balloon Diameter 16mm×Length 5cm, Stent Length 4.5cm | J8510110
|  |  |  | CMCP007 | Outer Balloon Diameter 18mm×Length 2.5cm, Stent Length 2.2cm | J8510010
|  |  |  | CMCP010 | Outer Balloon Diameter 18mm×Length 3cm, Stent Length 2.8cm | J8510010
|  |  |  | CMCP014 | Outer Balloon Diameter 18mm×Length 3.5cm, Stent Length 3.4cm | J8510010
|  |  |  | CMCP019 | Outer Balloon Diameter 18mm×Length 4cm, Stent Length 3.9cm | J8510110
|  |  |  | CMCP025 | Outer Balloon Diameter 18mm×Length 4.5cm, Stent Length 4.5cm | J8510110
|  |  |  | CMCP031 | Outer Balloon Diameter 18mm×Length 5cm, Stent Length 4.5cm | J8510110
|  |  |  | CMCP011 | Outer Balloon Diameter 20mm×Length 3cm, Stent Length 2.8cm | J8510010
|  |  |  | CMCP015 | Outer Balloon Diameter 20mm×Length 3.5cm, Stent Length 3.4cm | J8510010
|  |  |  | CMCP020 | Outer Balloon Diameter 20mm×Length 4cm, Stent Length 3.9cm | J8510110
|  |  |  | CMCP026 | Outer Balloon Diameter 20mm×Length 4.5cm, Stent Length 4.5cm | J8510110
|  |  |  | CMCP032 | Outer Balloon Diameter 20mm×Length 5cm, Stent Length 4.5cm | J8510110
|  |  |  | CMCP016 | Outer Balloon Diameter 22mm×Length 3.5cm, Stent Length 3.4cm | J8510010
|  |  |  | CMCP021 | Outer Balloon Diameter 22mm×Length 4cm, Stent Length 3.9cm | J8510110
|  |  |  | CMCP027 | Outer Balloon Diameter 22mm×Length 4.5cm, Stent Length 4.5cm | J8510110
|  |  |  | CMCP033 | Outer Balloon Diameter 22mm×Length 5cm, Stent Length 4.5cm | J8510110
|  |  |  | CMCP022 | Outer Balloon Diameter 24mm×Length 4cm, Stent Length 3.9cm | J8510110
|  |  |  | CMCP028 | Outer Balloon Diameter 24mm×Length 4.5cm, Stent Length 4.5cm | J8510110
|  |  |  | CMCP034 | Outer Balloon Diameter 24mm×Length 5cm, Stent Length 4.5cm | J8510110
|  |  |  | CMCP040 | Outer Balloon Diameter 26mm×Length 4cm, Stent Length 3.9cm | J8510310
|  |  |  | CMCP041 | Outer Balloon Diameter 28mm×Length 4cm, Stent Length 3.9cm | J8510310
|  |  |  | CMCP042 | Outer Balloon Diameter 30mm×Length 4cm, Stent Length 3.9cm | J8510310
|  |  |  | CMCP044 | Outer Balloon Diameter 26mm×Length 5cm, Stent Length 4.5cm | J8510310
|  |  |  | CMCP045 | Outer Balloon Diameter 28mm×Length 5cm, Stent Length 4.5cm | J8510310
|  |  |  | CMCP046 | Outer Balloon Diameter 30mm×Length 5cm, Stent Length 4.5cm | J8510310
10 | Numed | 풍선확장식혈관성형술용 카테터[4] | BIB® Catheter | BB003 | Outer Balloon Diameter 12mm, Length 2.5cm | J8510210
|  |  |  | BB006 | Outer Balloon Diameter 12mm, Length 3 | J8510210
|  |  |  | BB009 | Outer Balloon Diameter 12mm, Length 3.5 | J8510210
|  |  |  | BB033 | Outer Balloon Diameter 12mm, Length 4 | J8510210
|  |  |  | BB037 | Outer Balloon Diameter 12mm, Length 4.5 | J8510210
|  |  |  | BB034 | Outer Balloon Diameter 12mm ,Length 5 | J8510210
|  |  |  | BB051 | Outer Balloon Diameter 12mm, Length 5.5 | J8510210
|  |  |  | BB022 | Outer Balloon Diameter 14mm, Length 2.5cm | J8510210
|  |  |  | BB052 | Outer Balloon Diameter 14mm, Length 3 | J8510210
|  |  |  | BB025 | Outer Balloon Diameter 14mm, Length 3.5 | J8510210
|  |  |  | BB038 | Outer Balloon Diameter 14mm, Length 4 | J8510210
|  |  |  | BB035 | Outer Balloon Diameter 14mm, Length 4.5 | J8510210
|  |  |  | BB039 | Outer Balloon Diameter 14mm, Length 5 | J8510210
|  |  |  | BB053 | Outer Balloon Diameter 14mm, Length 5.5 | J8510210
|  |  |  | BB054 | Outer Balloon Diameter 15mm, Length 2.5cm | J8510210
|  |  |  | BB055 | Outer Balloon Diameter 15mm, Length 3 | J8510210
|  |  |  | BB056 | Outer Balloon Diameter 15mm, Length 3.5 | J8510210
|  |  |  | BB057 | Outer Balloon Diameter 15mm, Length 4 | J8510210
|  |  |  | BB058 | Outer Balloon Diameter 15mm, Length 4.5 | J8510210
|  |  |  | BB059 | Outer Balloon Diameter 15mm, Length 5 | J8510210
|  |  |  | BB060 | Outer Balloon Diameter 15mm. Length 5.5 | J8510210
|  |  |  | BB023 | Outer Balloon Diameter 16mm, Length 2.5cm | J8510210
|  |  |  | BB010 | Outer Balloon Diameter 16mm, Length 3cm | J8510210
|  |  |  | BB026 | Outer Balloon Diameter 16mm, Length 3.5cm | J8510210
|  |  |  | BB013 | Outer Balloon Diameter 16mm, Length 4cm | J8510210
|  |  |  | BB016 | Outer Balloon Diameter 16mm, Length 4.5cm | J8510210
|  |  |  | BB028 | Outer Balloon Diameter 16mm, Length 5cm | J8510210
|  |  |  | BB019 | Outer Balloon Diameter 16mm, Length 5.5cm | J8510210
|  |  |  | BB024 | Outer Balloon Diameter 18mm, Length 2.5cm | J8510210
|  |  |  | BB040 | Outer Balloon Diameter 18mm, Length 3cm | J8510210
|  |  |  | BB027 | Outer Balloon Diameter 18mm, Length 3.5cm | J8510210
|  |  |  | BB041 | Outer Balloon Diameter 18mm, Length 4cm | J8510210
|  |  |  | BB029 | Outer Balloon Diameter 18mm, Length 4.5cm | J8510210
|  |  |  | BB030 | Outer Balloon Diameter 18mm, Length 5cm | J8510210
|  |  |  | BB031 | Outer Balloon Diameter 18mm, Length 5.5cm | J8510210
|  |  |  | BB011 | Outer Balloon Diameter 20mm, Length 3cm | J8510210
|  |  |  | BB042 | Outer Balloon Diameter 20mm, Length 3.5cm | J8510210
|  |  |  | BB014 | Outer Balloon Diameter 20mm, Length 4cm | J8510210
|  |  |  | BB017 | Outer Balloon Diameter 20mm, Length 4.5cm | J8510210
|  |  |  | BB032 | Outer Balloon Diameter 20mm, Length 5cm | J8510210
|  |  |  | BB020 | Outer Balloon Diameter 20mm, Length 5.5cm | J8510210
|  |  |  | BB061 | Outer Balloon Diameter 22mm, Length 3cm | J8510210
|  |  |  | BB062 | Outer Balloon Diameter 22mm, Length 3.5cm | J8510210
|  |  |  | BB063 | Outer Balloon Diameter 22mm, Length 4cm | J8510210
|  |  |  | BB064 | Outer Balloon Diameter 22mm, Length 4.5cm | J8510210
|  |  |  | BB065 | Outer Balloon Diameter 22mm, Length 5cm | J8510210
|  |  |  | BB066 | Outer Balloon Diameter 22mm, Length 5.5cm | J8510210
|  |  |  | BB012 | Outer Balloon Diameter 24mm, Length 3cm | J8510210
|  |  |  | BB067 | Outer Balloon Diameter 24mm, Length 3.5cm | J8510210
|  |  |  | BB015 | Outer Balloon Diameter 24mm, Length 4cm | J8510210
|  |  |  | BB018 | Outer Balloon Diameter 24mm, Length 4.5cm | J8510210
|  |  |  | BB036 | Outer Balloon Diameter 24mm, Length 5cm | J8510210
|  |  |  | BB021 | Outer Balloon Diameter 24mm, Length 5.5cm | J8510210
11 | Numed | 중격절개용 카테터[4] | Atrioseptostomy catheter | 611200 | Ballon Diameter 9.5mm, Length 0.95cm | J4064010
|  |  |  | 611100 | Ballon Diameter 13.5mm, Length 1.35cm | J4064010
Note on F4: NIDS: 필수 기재 요망.
Note on I4: NIDS: 필수 기재 요망.

## Jotec
`22년 희소·긴급도입 필요 의료기기 현재 재고량 및 연간 필요수량 조사
|  |  |  | *의료기관명 : | 한국병원 |  | *기준일 : | 00월 00일
|  |  |  | 진료과 : | 흉부외과
연번 | 제조사(원) | 품목명 | 제품명 | 모델명 | 사양 | 치료재료 코드 | *재고량 | *연간 필요수량(예상)
12 | Jotec | 혈관용스텐트 [4] | E-Vita Open Plus | 71AC2020S13-PL-CO | Stent Graft Length 130mm, Graft Length 50mm, Graft Diameter 20mm | G0450010
|  |  |  | 71AC2222S13-PL-CO | Stent Graft Length 130mm, Graft Length 50mm, Graft Diameter 22mm | G0450010
|  |  |  | 71AC2424S13-PL-CO | Stent Graft Length 130mm, Graft Length 50mm, Graft Diameter 24mm | G0450010
|  |  |  | 71AC2626S13-PL-CO | Stent Graft Length 130mm, Graft Length 50mm, Graft Diameter 26mm | G0450010
|  |  |  | 71AC2828S13-PL-CO | Stent Graft Length 130mm, Graft Length 50mm, Graft Diameter 28mm | G0450010
|  |  |  | 71AC3030S13-PL-CO | Stent Graft Length 130mm, Graft Length 50mm, Graft Diameter 30mm | G0450010
|  |  |  | 71AC3333S13-PL-CO | Stent Graft Length 130mm, Graft Length 50mm, Graft Diameter 33mm | G0450010
|  |  |  | 71AC3636S13-PL-CO | Stent Graft Length 130mm, Graft Length 50mm, Graft Diameter 36mm | G0450010
|  |  |  | 71AC4040S13-PL-CO | Stent Graft Length 130mm, Graft Length 50mm, Graft Diameter 40mm | G0450010
|  |  |  | 71AC2020S15-PL-CO | Stent Graft Length 150mm, Graft Length 70mm, Graft Diameter 20mm | G0450010
|  |  |  | 71AC2222S15-PL-CO | Stent Graft Length 150mm, Graft Length 70mm, Graft Diameter 22mm | G0450010
|  |  |  | 71AC2424S15-PL-CO | Stent Graft Length 150mm, Graft Length 70mm, Graft Diameter 24mm | G0450010
|  |  |  | 71AC2626S15-PL-CO | Stent Graft Length 150mm, Graft Length 70mm, Graft Diameter 26mm | G0450010
|  |  |  | 71AC2828S15-PL-CO | Stent Graft Length 150mm, Graft Length 70mm, Graft Diameter 28mm | G0450010
|  |  |  | 71AC3030S15-PL-CO | Stent Graft Length 150mm, Graft Length 70mm, Graft Diameter 30mm | G0450010
|  |  |  | 71AC3333S16-PL-CO | Stent Graft Length 160 mm, Graft Length 70mm, Graft Diameter 33mm | G0450010
|  |  |  | 71AC3636S16-PL-CO | Stent Graft Length 160mm, Graft Length 70mm, Graft Diameter 36mm | G0450010
|  |  |  | 71AC4040S16-PL-CO | Stent Graft Length 160mm, Graft Length 70mm, Graft Diameter 40mm | G0450010
|  |  |  | 71AC2424S13-PL-CO-02 | Stent Graft Length 130mm, Graft Length 20mm, Graft Diameter 24mm | G0450010
|  |  |  | 71AC2828S13-PL-CO-02 | Stent Graft Length 130mm, Graft Length 20mm, Graft Diameter 28mm | G0450010
|  |  |  | 71AC3030S13-PL-CO-02 | Stent Graft Length 130mm, Graft Length 20mm, Graft Diameter 30mm | G0450010
|  |  |  | 71AC3333S13-PL-CO-02 | Stent Graft Length 130mm, Graft Length 20mm, Graft Diameter 33mm | G0450010
|  |  |  | 71AC3636S13-PL-CO-02 | Stent Graft Length 130mm, Graft Length 20mm, Graft Diameter 36mm | G0450010
13 | Jotec | 혈관용스텐트 [4] | E-vita open NEO | 95HG2622L120-C01 | Vascular Graft Diameter 26mm, Stent Graft Diameter 22mm, Stent Graft Length 120mm, | G0450110
|  |  |  | 95HG2624L120-C01 | Vascular Graft Diameter 26mm, Stent Graft Diameter 24mm, Stent Graft Length 120mm, | G0450110
|  |  |  | 95HG2624L175-C01 | Vascular Graft Diameter 26mm, Stent Graft Diameter 24mm, Stent Graft Length 175mm | G0450110
|  |  |  | 95HG2828L120-C01 | Vascular Graft Diameter 28mm, Stent Graft Diameter 28mm, Stent Graft Length 120mm | G0450110
|  |  |  | 95HG2828L180-C01 | Vascular Graft Diameter 28mm, Stent Graft Diameter 28mm, Stent Graft Length 180mm | G0450110
|  |  |  | 95HG3030L120-C01 | Vascular Graft Diameter 30mm, Stent Graft Diameter 30mm, Stent Graft Length 120mm | G0450110
|  |  |  | 95HG3030L180-C01 | Vascular Graft Diameter 30mm, Stent Graft Diameter 30mm, Stent Graft Length 180mm | G0450110
|  |  |  | 95HG3033L130-C01 | Vascular Graft Diameter 30mm, Stent Graft Diameter 33mm, Stent Graft Length 130mm | G0450110
|  |  |  | 95HG3036L130-C01 | Vascular Graft Diameter 30mm, Stent Graft Diameter 36mm, Stent Graft Length 130mm | G0450110
|  |  |  | 95HG3040L130-C01 | Vascular Graft Diameter 30mm, Stent Graft Diameter 40mm, Stent Graft Length 130mm, | G0450110
|  |  |  | 95HG2622L120-C02 | Vascular Graft Diameter 26mm, Stent Graft Diameter 22mm, Stent Graft Length 120mm, | G0450110
|  |  |  | 95HG2624L120-C02 | Vascular Graft Diameter 26mm, Stent Graft Diameter 24mm, Stent Graft Length 120mm, | G0450110
|  |  |  | 95HG2624L175-C02 | Vascular Graft Diameter 26mm, Stent Graft Diameter 24mm, Stent Graft Length 175mm, | G0450110
|  |  |  | 95HG2626L120-C02 | Vascular Graft Diameter 26mm, Stent Graft Diameter 26mm, Stent Graft Length 120mm, | G0450110
|  |  |  | 95HG2828L120-C02 | Vascular Graft Diameter 28mm, Stent Graft Diameter 28mm, Stent Graft Length 120mm, | G0450110
|  |  |  | 95HG3030L120-C02 | Vascular Graft Diameter 30mm, Stent Graft Diameter 30mm, Stent Graft Length 120mm, | G0450110
|  |  |  | 95HG3030L180-C02 | Vascular Graft Diameter 30mm, Stent Graft Diameter 30mm, Stent Graft Length 180mm, | G0450110
|  |  |  | 95HG3033L130-C02 | Vascular Graft Diameter 30mm, Stent Graft Diameter 33mm, Stent Graft Length 130mm, | G0450110
|  |  |  | 95HG3036L130-C02 | Vascular Graft Diameter 30mm, Stent Graft Diameter 36mm, Stent Graft Length 130mm, | G0450110
|  |  |  | 95HG3040L180-C02 | Vascular Graft Diameter 30mm, Stent Graft Diameter 40mm, Stent Graft Length 180mm, | G0450110
|  |  |  | 95HG2624L175-C03 | Vascular Graft Diameter 26mm, Stent Graft Diameter 24mm, Stent Graft Length 175mm, | G0450110
|  |  |  | 95HG2828L180-C03 | Vascular Graft Diameter 28mm, Stent Graft Diameter 28mm, Stent Graft Length 180mm, | G0450110
|  |  |  | 95HG3030L180-C03 | Vascular Graft Diameter 30mm, Stent Graft Diameter 30mm, Stent Graft Length 180mm, | G0450110
|  |  |  | 95HG3033L180-C03 | Vascular Graft Diameter 30mm, Stent Graft Diameter 33mm, Stent Graft Length 180mm, | G0450110
|  |  |  | 95HG3036L180-C03 | Vascular Graft Diameter 30mm, Stent Graft Diameter 36mm, Stent Graft Length 180mm, | G0450110
|  |  |  | 95HG3040L180-C03 | Vascular Graft Diameter 30mm, Stent Graft Diameter 40mm, Stent Graft Length 180mm, | G0450110
Note on F4: NIDS: 필수 기재 요망.
Note on I4: NIDS: 필수 기재 요망.

## Bently
`22년 희소·긴급도입 필요 의료기기 현재 재고량 및 연간 필요수량 조사
|  |  |  | *의료기관명 : | 한국병원 |  | *기준일 : | 00월 00일
|  |  |  | 진료과 : | 흉부외과
* '해당없음' : 보험급여 미적용 상태
연번 | 제조사(원) | 품목명 | 제품명 | 모델명 | 사양 | 치료재료 코드 | *재고량 | *연간 필요수량(예상)
14 | Bentley | 혈관용스텐트 [4] | Begraft Peripheral | BGP1805_1 | Nominal Stent Graft Length 18mm, Expanded Stent Graft Diameter 5mm, Introducer Sheath Size 6F, Usable Catheter Length 75cm | 해당없음
|  |  |  | BGP1805_2 | Nominal Stent Graft Length 18mm, Expanded Stent Graft Diameter 5mm, Introducer Sheath Size 6F, Usable Catheter Length 120cm | 해당없음
|  |  |  | BGP2205_1 | Nominal Stent Graft Length 22mm, Expanded Stent Graft Diameter 5mm, Introducer Sheath Size 6F, Usable Catheter Length 75cm | 해당없음
|  |  |  | BGP2205_2 | Nominal Stent Graft Length 22mm, Expanded Stent Graft Diameter 5mm, Introducer Sheath Size 6F, Usable Catheter Length 120cm | 해당없음
|  |  |  | BGP2805_1 | Nominal Stent Graft Length 28mm, Expanded Stent Graft Diameter 5mm, Introducer Sheath Size 6F, Usable Catheter Length 75cm | 해당없음
|  |  |  | BGP2805_2 | Nominal Stent Graft Length 28mm, Expanded Stent Graft Diameter 5mm, Introducer Sheath Size 6F, Usable Catheter Length 120cm | 해당없음
|  |  |  | BGP3805_1 | Nominal Stent Graft Length 38mm, Expanded Stent Graft Diameter 5mm, Introducer Sheath Size 6F, Usable Catheter Length 75cm | 해당없음
|  |  |  | BGP3805_2 | Nominal Stent Graft Length 38mm, Expanded Stent Graft Diameter 5mm, Introducer Sheath Size 6F, Usable Catheter Length 120cm | 해당없음
|  |  |  | BGP5805_1 | Nominal Stent Graft Length 58mm, Expanded Stent Graft Diameter 5mm, Introducer Sheath Size 6F, Usable Catheter Length 75cm | 해당없음
|  |  |  | BGP5805_2 | Nominal Stent Graft Length 58mm, Expanded Stent Graft Diameter 5mm, Introducer Sheath Size 6F, Usable Catheter Length 120cm | 해당없음
|  |  |  | BGP1806_1 | Nominal Stent Graft Length 18mm, Expanded Stent Graft Diameter 6mm, Introducer Sheath Size 6F, Usable Catheter Length 75cm | 해당없음
|  |  |  | BGP1806_2 | Nominal Stent Graft Length 18mm, Expanded Stent Graft Diameter 6mm, Introducer Sheath Size 6F, Usable Catheter Length 120cm | 해당없음
|  |  |  | BGP2206_1 | Nominal Stent Graft Length 22mm, Expanded Stent Graft Diameter 6mm, Introducer Sheath Size 6F, Usable Catheter Length 75cm | 해당없음
|  |  |  | BGP2206_2 | Nominal Stent Graft Length 22mm, Expanded Stent Graft Diameter 6mm, Introducer Sheath Size 6F, Usable Catheter Length 120cm | 해당없음
|  |  |  | BGP2806_1 | Nominal Stent Graft Length 28mm, Expanded Stent Graft Diameter 6mm, Introducer Sheath Size 6F, Usable Catheter Length 75cm | 해당없음
|  |  |  | BGP2806_2 | Nominal Stent Graft Length 28mm, Expanded Stent Graft Diameter 6mm, Introducer Sheath Size 6F, Usable Catheter Length 120cm | 해당없음
|  |  |  | BGP3806_1 | Nominal Stent Graft Length 38mm, Expanded Stent Graft Diameter 6mm, Introducer Sheath Size 6F, Usable Catheter Length 75cm | 해당없음
|  |  |  | BGP3806_2 | Nominal Stent Graft Length 38mm, Expanded Stent Graft Diameter 6mm, Introducer Sheath Size 6F, Usable Catheter Length 120cm | 해당없음
|  |  |  | BGP5806_1 | Nominal Stent Graft Length 58mm, Expanded Stent Graft Diameter 6mm, Introducer Sheath Size 6F, Usable Catheter Length 75cm | 해당없음
|  |  |  | BGP5806_2 | Nominal Stent Graft Length 58mm, Expanded Stent Graft Diameter 6mm, Introducer Sheath Size 6F, Usable Catheter Length 120cm | 해당없음
|  |  |  | BGP1807_1 | Nominal Stent Graft Length 18mm, Expanded Stent Graft Diameter 7mm, Introducer Sheath Size 6F, Usable Catheter Length 75cm | 해당없음
|  |  |  | BGP1807_2 | Nominal Stent Graft Length 18mm, Expanded Stent Graft Diameter 7mm, Introducer Sheath Size 6F, Usable Catheter Length 120cm | 해당없음
|  |  |  | BGP2307_1 | Nominal Stent Graft Length 23mm, Expanded Stent Graft Diameter 7mm, Introducer Sheath Size 6F, Usable Catheter Length 75cm | 해당없음
|  |  |  | BGP2307_2 | Nominal Stent Graft Length 23mm, Expanded Stent Graft Diameter 7mm, Introducer Sheath Size 6F, Usable Catheter Length 120cm | 해당없음
|  |  |  | BGP2707_1 | Nominal Stent Graft Length 27mm, Expanded Stent Graft Diameter 7mm, Introducer Sheath Size 6F, Usable Catheter Length 75cm | 해당없음
|  |  |  | BGP2707_2 | Nominal Stent Graft Length 27mm, Expanded Stent Graft Diameter 7mm, Introducer Sheath Size 6F, Usable Catheter Length 120cm | 해당없음
|  |  |  | BGP3707_1 | Nominal Stent Graft Length 37mm, Expanded Stent Graft Diameter 7mm, Introducer Sheath Size 6F, Usable Catheter Length 75cm | 해당없음
|  |  |  | BGP3707_2 | Nominal Stent Graft Length 37mm, Expanded Stent Graft Diameter 7mm, Introducer Sheath Size 6F, Usable Catheter Length 120cm | 해당없음
|  |  |  | BGP5707_1 | Nominal Stent Graft Length 57mm, Expanded Stent Graft Diameter 7mm, Introducer Sheath Size 6F, Usable Catheter Length 75cm | 해당없음
|  |  |  | BGP5707_2 | Nominal Stent Graft Length 57mm, Expanded Stent Graft Diameter 7mm, Introducer Sheath Size 6F, Usable Catheter Length 120cm | 해당없음
|  |  |  | BGP2708_1 | Nominal Stent Graft Length 27mm, Expanded Stent Graft Diameter 8mm, Introducer Sheath Size 6F, Usable Catheter Length 75cm | 해당없음
|  |  |  | BGP2708_2 | Nominal Stent Graft Length 27mm, Expanded Stent Graft Diameter 8mm, Introducer Sheath Size 6F, Usable Catheter Length 120cm | 해당없음
|  |  |  | BGP3708_1 | Nominal Stent Graft Length 37mm, Expanded Stent Graft Diameter 8mm, Introducer Sheath Size 6F, Usable Catheter Length 75cm | 해당없음
|  |  |  | BGP3708_2 | Nominal Stent Graft Length 37mm, Expanded Stent Graft Diameter 8mm, Introducer Sheath Size 6F, Usable Catheter Length 120cm | 해당없음
|  |  |  | BGP5708_1 | Nominal Stent Graft Length 57mm, Expanded Stent Graft Diameter 8mm, Introducer Sheath Size 6F, Usable Catheter Length 75cm | 해당없음
|  |  |  | BGP5708_2 | Nominal Stent Graft Length 57mm, Expanded Stent Graft Diameter 8mm, Introducer Sheath Size 6F, Usable Catheter Length 120cm | 해당없음
|  |  |  | BGP2709_1 | Nominal Stent Graft Length 27mm, Expanded Stent Graft Diameter 9mm, Introducer Sheath Size 7F, Usable Catheter Length 75cm | 해당없음
|  |  |  | BGP2709_2 | Nominal Stent Graft Length 27mm, Expanded Stent Graft Diameter 9mm, Introducer Sheath Size 7F, Usable Catheter Length 120cm | 해당없음
|  |  |  | BGP3709_1 | Nominal Stent Graft Length 37mm, Expanded Stent Graft Diameter 9mm, Introducer Sheath Size 7F, Usable Catheter Length 75cm | 해당없음
|  |  |  | BGP3709_2 | Nominal Stent Graft Length 37mm, Expanded Stent Graft Diameter 9mm, Introducer Sheath Size 7F, Usable Catheter Length 120cm | 해당없음
|  |  |  | BGP5709_1 | Nominal Stent Graft Length 57mm, Expanded Stent Graft Diameter 9mm, Introducer Sheath Size 7F, Usable Catheter Length 75cm | 해당없음
|  |  |  | BGP5709_2 | Nominal Stent Graft Length 57mm, Expanded Stent Graft Diameter 9mm, Introducer Sheath Size 7F, Usable Catheter Length 120cm | 해당없음
|  |  |  | BGP2710_1 | Nominal Stent Graft Length 27mm, Expanded Stent Graft Diameter 10mm, Introducer Sheath Size 7F, Usable Catheter Length 75cm | 해당없음
|  |  |  | BGP2710_2 | Nominal Stent Graft Length 27mm, Expanded Stent Graft Diameter 10mm, Introducer Sheath Size 7F, Usable Catheter Length 120cm | 해당없음
|  |  |  | BGP3710_1 | Nominal Stent Graft Length 37mm, Expanded Stent Graft Diameter 10mm, Introducer Sheath Size 7F, Usable Catheter Length 75cm | 해당없음
|  |  |  | BGP3710_2 | Nominal Stent Graft Length 37mm, Expanded Stent Graft Diameter 10mm, Introducer Sheath Size 7F, Usable Catheter Length 120cm | 해당없음
|  |  |  | BGP5710_1 | Nominal Stent Graft Length 57mm, Expanded Stent Graft Diameter 10mm, Introducer Sheath Size 7F, Usable Catheter Length 75cm | 해당없음
|  |  |  | BGP5710_2 | Nominal Stent Graft Length 57mm, Expanded Stent Graft Diameter 10mm, Introducer Sheath Size 7F, Usable Catheter Length 120cm | 해당없음
Note on F4: NIDS: 필수 기재 요망.
Note on I4: NIDS: 필수 기재 요망.

## Gtinge, Cook, Merit, Medcomp 등
`22년 희소·긴급도입 필요 의료기기 현재 재고량 및 연간 필요수량 조사
|  |  |  | *의료기관명 : | 한국병원 |  | *기준일 : | 00월 00일
|  |  |  | 진료과 : | 흉부외과
* '해당없음' : 보험급여 미적용 상태
연번 | 제조사(원) | 품목명 | 제품명 | 모델명 | 사양 | 치료재료 코드 | *재고량 | *연간 필요수량(예상)
15 | Getinge Group | 심폐수술용 혈관튜브· 카테터[4] | Avalon Elite Bi-Caval Dual Lumen Catheter | 10013 | 13Fr.(4.3mm) Length 11cm, Connector Size 1/4” | G3053010
|  |  |  | 10016 | 16Fr.(5.3mm) Length 14cm, Connector Size 1/4” | G3053010
|  |  |  | 10019 | 19Fr.(6.4mm) Length 21cm, Connector Size 1/4” | G3053010
16 | Cook Medical | 카테터삽입기 [2] | Flexor® Introducer | KCFW-12.0-38-80-RB | Diameter 12Fr, length 80 cm | J5001110
17 | Cook Medical | 카테터삽입기 [2] | Performer® Introducer and set | RCFW-14.0-38-30-RB | Diameter 14Fr, Length 30cm | J5001110
|  |  |  | RCFW-14.0-38-45-RB | Diameter 14Fr, Length 45cm | J5001110
|  |  |  | RCFW-16.0P-38-30-RB | Diameter 16Fr, Length 30cm | J5001110
|  |  |  | RCFW-16.0P-38-45-RB | Diameter 16Fr, Length 45cm | J5001110
|  |  |  | RCFW-16.0P-38-70-RB | Diameter 16Fr, Length 70cm | J5001110
|  |  |  | RCFW-18.0P-38-30-RB | Diameter 18Fr, Length 30cm | J5001110
|  |  |  | RCFW-18.0P-38-85-RB | Diameter 18Fr, Length 85cm | J5001110
18 | Cook Medical | 혈관용스텐트 [4] | Zenith t-Branch Thoracoabdominal Endovasulcar Graft | TBRANCH-34-18-202 | Aortic Vessel OD 24-30mm, Proximal Diameter 34mm. Distal Diameter 18mm, Body Length 202mm | J8512010
19 | Cook Medical | 혈관용스텐트 [4] | Zenith Universal Distal Body Endovasulcar Graft | UNIBODY-22-81 | Proximal Diameter 22mm, Distal Body Length 81mm | J8512010
|  |  |  | UNIBODY-22-98 | Proximal Diameter 22mm, Distal Body Length 98mm | J8512010
|  |  |  | UNIBODY-22-115 | Proximal Diameter 22mm, Distal Body Length 115mm | J8512010
|  |  |  | UNIBODY-22-132 | Proximal Diameter 22mm, Distal Body Length 132mm | J8512010
20 | Merit medical | 중심순환계 인공혈관[4] | Super Hemodialysis Reliable Outflow(Hero) | HeRO 1000 | · Adopter : Diameter 6mm -5mm, Length 2.47cm · Support Seal : N/A · Venous Outflow Component : Diameter 5mm, Length 40cm (customizable) · Accessory Component Kit : N/A | 해당없음
21 | Merit medical | 중심정맥용카테터삽입기 [4] | Surfacer | 600200 | Introducer OD 18Fr, Workstation Length 64.5 cm (25.4") | 해당없음
22 | Medcomp | 이식형혈관 접속용기구 [4] | SPLIT CATH III | ASPC15P-XL | 10F × 15CM, Straight | 해당없음
|  |  |  | ASPC18P-XL | 10F × 18CM, Straight | 해당없음
|  |  |  | ASPC24P-XL | 10F × 24CM, Straight | 해당없음
23 | Abbott | 비생체재질인공심장판막[4] | Masters Series Mechanical Heart Valve | 15MHPJ-505 | Mitral · Tissue annulus diameter : 15mm · Geomeric orifice area : 1.3 ㎠ · Implant height : 2.2mm · Overall height open : 8.5mm · Cuff OD : 20mm | 해당없음
|  |  |  | 15AHPJ-505 | Aortic · Tissue annulus diameter : 15mm · Geomeric orifice area : 1.3 ㎠ · Implant height : 4.6mm · Overall height open : 8.5mm · Cuff OD : 20mm | 해당없음
Note on F4: NIDS: 필수 기재 요망.
Note on I4: NIDS: 필수 기재 요망.
Note on E31: NIDS: 제조원과 협의 중