## Slide 1: ECMO in adult respiratory failure
양산부산대학교병원
호흡기내과
여혜주
PNUYH ECMO team, 7년간의 시행착오

## Slide 2: Contents: real world problems
Weaning period
Insertion period
Maintenance period
Patient selection
Timing
ECMO mode
Bleeding
Infection
Sedation
Rehabilitation
Awakening
Vascular complication

## Slide 3: Rescue therapies
Respir Care. 2018;63(1):92

## Slide 4
International report
2019 ELSO registry report

## Slide 5: PNUYH ECMO team
PNUYH ECMO team

## Slide 6: Learning curve
perfusion 2019

## Slide 7: International report
2019 ELSO registry report
most severe forms of ARDS may be associated with mortality exceeding 60%

## Slide 8
Chart: 
| Successful ECMO weaning | ICU discharge | Survival to discharge | 1 year survival
Period 1 | 58 | 42 | 40 | 40
Period 2 | 80 | 60 | 58 | 56
Period 3 | 80 | 78 | 70 | 70
*
*
PNUYH
perfusion 2019

## Slide 9: Patients management
Sedation
Intubation
Rest vent settings
Specialist
Lung recruitment
Bleeding/infection/vascular complication
Awake
Tracheostomy or extubation
ICU nurse, ECMO team
Bridge to recovery or transplantation
Bleeding/infection minor
Rehabilitation
Extubation/ HFN
ECMO team, protocol
Prone position/ lung resting
Nutrition
Bridge to LT
Early
Intermmediate
Recently

## Slide 10: Insertion period
Conventional
VILI
ECMO
Blood trauma
ECMO complication
Patient selection
Timing
ECMO Mode

## Slide 11: Patient selection
PaO2/FiO2 < 150 on FiO2 > 90%  consider
PaO2/FiO2 < 100 on FiO2> 90%  initiate
CO2 retention despite high Pplat (>30 cm H2O)
Elderly (>70y): relative contraindication
Age 보다는 body composition

## Slide 12: Contraindication
Mechanical ventilation at high settings (FiO2 >0.9, Pplat >30) for 7 days or more.
immunosuppression (WBC <1000, absolute neutrophil count <400/mm3)
CNS hemorrhage
Nonrecoverable comorbidity such as major CNS damage or terminal malignancy
V. PLT < 50,000
ELSO guideline 2017
* 교정가능한 Contraindication은 교정 후 시행

## Slide 13: Body > age

## Slide 14: Outcomes according to the body mass index
From Korean Respiratory ECMO registry (2014-2015)
Journal of critical care 2018
Notes: .

## Slide 15: Obesity paradox in pneumonia requiring VV ECMO
Ongoing question ?
  Excess of adipose tissue
  Excess of muscle mass
χ2=7.17
p = 0.007
Journal of critical care 2018
Notes: .

## Slide 16: Sarcopenia for long-term mortality in VV ECMO
ASAIO 2019
1-year mortality rate was higher in the low SMI group than in the high SMI group (70.2 % vs. 46.8 %, p = 0.021)
Sarcopenia predicted worse 1-year mortality in patients who underwent respiratory ECMO.

## Slide 17: Best timing?
Trend = early ECMO 2-5 days
Chart: 
| 1986-1991 | 1992-1996 | 1997-2001 | 2002-2006
pre-ECMO MV time (H) | 72 | 120 | 55 | 42
The sooner, the better ?
Intensive care med 2009
hours

## Slide 18
Pressure and volume limited MV
Optimal sedation/analgesia
PNUYH protocol
Higher PEEP
Neuromuscular blockade
Still hypoxemic? PF < 150
Still hypoxemic? PF<100
No contraindication to proning?
Prone positioning
Profound hypoxemia PF <60
Contraindication to proning
ECMO
Still hypoxemic? PF<100
No improvement/complication
during proning?
Notes: .

## Slide 19: ECMO Mode: VV or VVA
Critical Care 2016
Refractory septic shock
successful weaning rate: 62.5 %
overall survival rate : 50.0 %
Lung
VV
Heart
VA
Lung & Heart
VVA

## Slide 20: Bridge to LT
Lung VV
RV failure VVA
Severe RV failure
Oxy RVAD
IPF, ILD, AIP, postARDS fibrosis
PNUYH strategy
Hypoxemic
Hypercapnic
Severe hypoxemic +moderate to severe PAH

## Slide 21: Bridge to LT (2012-2017)
 | Successful BTT
Waiting duration until transplantation | 22.0 (3-183)
ICU stay before Transplantation | 17.2 (3-58)
MV duration before ECMO | 0.5(0-17) 2 awaken ECMO
ECMO duration before transplantation | 14.5(1-57)
In-hospital mortality
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22
 | x |  |  |  | x | x | x |  | x |  |  |  |  |  |  |  |  |  |  |  | 

## Slide 22: Bridge to LT (2012-2017)
70.0%
(3 years survival excluding op mortality)
57.3%
(overall 3 years survival)

## Slide 23: Oxy-RVAD
 | 성별/나이 | 진단명 | 시행일 | LT 대기 일수 (ECMO) | 결과
1 | M/64 | IPF | 18-09-23 | 11 | 대기중 사망
2 | M/48 | ILD | 18-10-02 | 4 | LT 후 퇴원
3 | M/64 | ILD, RVF | 19-01-03 | 5 | LT후 퇴원예정
4 | M/64 | COPD, RVF | 19-01-19 | 6 | LT후 퇴원
5 | M/69 | IPF | 19-02-11 | 21 | 대기중 사망
6 | M/68 | IPF | 19-03-04 | 24 | 이식대기

## Slide 24: Maintenance period
Sedation deep or light
ECMO complications
-bleeding
-infection
-circuit problems

## Slide 25: Deep or Light Problem in Sedation on ECMO
Coughing
Tachypnea
Increased WOB
Air hunger
Unstable circuit flow
Dislodgement
of cannulas
Chattering
Hemolysis
Volume overload
Deep sedation
Drowning syndrome
Normal O2, CO2
Chest X-ray: White out
The Will To Breath
Rapid Shallow Breathing
Pulmonary HTN
Pulmonary congestion
Fall in Compliance

## Slide 26: Deep sedation in early (48H)
Acute & Prolonged phase on critical ill patients
Acute phase
Hypermetabolic phase
Elevated Catecholamine
Prolonged phase
Catabolic phase
Reduced Endocrine Stimulation
Severe loss of body cell mass
Current Opinion in Critical Care 2005
Major catecholaminergic activation
Excessive Hormonal, Metabolic, Inflammatory response
Oxygen consumption
Hemodynamic instability
Intravascular fluids shifting,
Thermic increase
Altered coagulation

## Slide 27: Low dose heparin may decrease bleeding complication & transfusion requirement
Intensive Care Med 2015

## Slide 28: Preemptive Distal Perfusion Cannulation (2010-2015 VA 151)
J interventional cardiology 2016
 | Rescue (N=107) | Preemptive (N=44) | P
Limb Ischemia | 10 (9.3) | 0 | 0.036
Surgical intervention | 3 (2.8) | 0 | 0.262
Fasciotomy | 2 (1.9) | 0 | 0.359
Amputation | 1 (0.9) | 0 | 0.248
Cannulation site bleeding | 9 (8.4) | 5 (11.4) | 0.570
Preemptive distal perfusion cannulation is safe and effective when used to prevent lower limb ischemia. However, delayed distal cannulation increases the extent of cannulation site bleeding, without improving the ischemia.

## Slide 29: Catastrophic events
11 cases
 | 11/478 (2.3%)
Self removal of cannula | 5
Disconnect venous cannula connector | 1
Air aspiration in IV bag | 1
Lur lock fracture during transport | 2
Artery cannula injury during distal cannula insertion | 1
Return cannula tearing | 1

## Slide 30: Blood stream infection was related to poor outcome.
Journal of Artificial Organs, 2015

## Slide 31: Bacterial biofilms
Total
N = 81
Infection
N = 51
Biofilm
N = 22 (43.1 %)
Culture positive biofilm
N = 14 (27.5 %)
Controls
N = 30
Biofilm
N = 6 (20 %)
Culture postive biofilm
N = 2 (6.7 %)
ASAIO 2018
ECMO flow, systemic infection and CRAB were associated with biofilm formation

## Slide 32: Weaning period
Awake
Early rehabilitation
Early enteral feeding
Vascular complication

## Slide 33: Awake ECMO
48 시간 이후
Spontaneous breathing
Early mobilization & rehabilitation
  Physical Therapy & Occupational Therapy
J Thorac Dis. 2016
Crit Care Med 2012
Analgesics
Sedatives
Anxiolytics/
Hypnotics
Antipsychotics
Safe environment
Drug side effects
Sedation scale use
Minimizing sedation
Awakening
Multimodal approach

## Slide 34: early tracheostomy significantly reduced the median ventilator day and ICU stay
acute and critical care 2017
2012-2016 N=38

## Slide 35: Muscle wasting
Systemic inflammation
Immobility
Multiple organ failure
Malnutrition
Derilium
ICU acquired weakness
J anesth 2016
Intensive care medicine 2017
Muscle wasting
50-100%
ECMO
Basal muscle status
Notes: .

## Slide 36: Weaning period
PNUYH protocol
Early EN
Early rehab
Weaning success
High protein
NMB중단하면 시작
NMB중단하면 시작

## Slide 37: Early rehabilitation (with 보호자)

## Slide 38: Vascular Complications (2010-2014 VA 63)
Vascular complications | 11 (17.5%) | 
Hematoma (> 5cm) | 6 (9.5%) | Repeat manual compression
Retroperitoneal bleeding | 1 (1.6%) | Hematoma evacuation and vascular repair
Access site bleeding | 1 (1.6%) | Simple suture
Arteriovenous fistula | 1 (1.6%) | Manual compression
Pseudoaneurysm | 2 (3.2%) | Sclerotherapy, manual compression
Journal of cardiac surgery 2016
The hematoma rate was significantly higher in patients with an aPTT > 56, and in whom dual antiplatelet drugs were used (OR: 11.55, 95% CI: 1.32–100.92, p = 0.027; OR: 8.17, CI: 1.61–41.46, p= 0.011)

## Slide 39: Case M/55
1 day

## Slide 40: Thrombocytopenia
Chart: 
| admission | ventilator | prone | NO | ECMO | ECMO+prone | tracehostomy
PLT(x1000) | 8 | 12 | 7 | 33 | 46 | 49 | 62 | 55 | 67 | 53
14일

## Slide 41: VV ECMO & prone positioning

## Slide 42: LUL lobectomy

## Slide 43: No. Specialist, Yes. Multidisciplinary team approach
Intensivist
Perfusionist
Rehabilitation team
Nutrition team
Cardiothoracic surgeon
Nurse
Individualized approach
Take home message

## Slide 44
감사합니다.